## 2025 Annual Report
Pursuant to California Public Utilities Commission (Commission or CPUC) Decision 14-12-015, this is a draft of Pacific Power's Fire Incident Data Collection Plan annual report. The attached information is preliminary and subject to change. The information is provided to facilitate review and comment by the recipient parties. Fire incidents where the cause of the ignition is under investigation have been excluded from this report. Any events with a fire start date prior to the last calendar year reflect events where the fire cause was determined during this reporting period.
Utility Name | Fire Start |  | Location |  |  |  | Fire |  |  | Utility Facility |  |  |  |  | Outage |  |  | Field Observations
| Date | Time | Latitude | Longitude | Material at Origin | Land Use at Origin | Size (small assumed to be no more than .25 acres) | Suppressed by | Suppressing Agency | Facility Identification | Other Companies | Voltage | Equipment Involved With Ignition | Type | Was There an Outage | Date | Time | Suspected Initiating Event | Equipment /Facility Failure | Contact From Object | Facility Contacted | Contributing Factor | Notes (Optional):
PacifiCorp | 2025-04-24 | 8:53 | 41.4897 | -122.8445 |  | Rural | Structure Only | Self-Extinguished | N/A | 06242009.0146501 | N/A | 12.50 | Secondary Conductor | DISTRIBUTION | Yes | 2025-04-24 | 8:53 | EQUIPMENT/FACILITY FAILURE OR DAMAGE | SECONDARY CONDUCTOR OH
PacifiCorp | 2025-05-02 | 22:11 | 41.7706 | -124.2018 |  | Urban | Structure Only | Self-Extinguished | N/A | 07216001.0206803 | N/A | 12.50 | Pole | DISTRIBUTION | Yes | 2025-05-02 | 22:11 | POLE FIRE | POLE |  |  | UNKNOWN
PacifiCorp | 2025-05-30 | 17:50 | 41.7663 | -124.1988 | VEGETATION | Rural | <3 linear meters | Self-Extinguished | N/A | 07113001.0140702 | N/A | 12.47 | Conductor | DISTRIBUTION | Yes | 2025-05-30 | 11:04 | CONTACT FROM OBJECT | CONDUCTOR | VEGETATION CONTACT | CONDUCTOR: PRIMARY
PacifiCorp | 2025-06-04 | 21:40 | 41.73 | -122.6355 | VEGETATION | Rural | <3 linear meters-2 acres | Fire agency | N/A | 06245006.0127600 | N/A | 12.47 | Lightning arrestor | DISTRIBUTION | Yes | 2025-06-04 | 18:12 | EQUIPMENT/FACILITY FAILURE OR DAMAGE | LIGHTNING ARRESTOR
PacifiCorp | 2025-06-15 | 11:40 | 41.4188 | -122.3825 | VEGETATION | Urban | <3 linear meters-2 acres | Fire agency | N/A | 6241005.0119803 | N/A | 12.5 | Conductor | DISTRIBUTION | Yes | 2025-06-15 | 9:26 | EQUIPMENT/FACILITY FAILURE OR DAMAGE | CONDUCTOR
PacifiCorp | 2025-06-30 | 15:02 | 41.6987 | -122.651 | VEGETATION | Rural | <3 linear meters-2 acres | Fire agency | Montegue FD | 6245006.0105501 | N/A | 7.21 | Pole | DISTRIBUTION | Yes | 2025-06-30 | 15:02 | CONTACT FROM OBJECT | POLE | VEGETATION CONTACT | CONDUCTOR: PRIMARY | WEATHER
PacifiCorp | 2025-07-29 | 20:20 | 41.419 | -122.3823 | STRUCTURE | Urban | <3 linear meters | Self-Extinguished | N/A | 06241005.0119803 | N/A | 12.47 | Conductor | DISTRIBUTION | Yes | 2025-07-29 | 17:45 | EQUIPMENT/FACILITY FAILURE OR DAMAGE | CONDUCTOR
PacifiCorp | 2025-08-01 | 2:06 | 41.7895 | -124.2052 |  | Urban | Structure Only | Self-Extinguished | N/A | 07216001.0084100 | N/A | 12.50 | Cross Arm | DISTRIBUTION | Yes | 2025-08-01 | 2:06 | POLE FIRE | CROSS ARM
PacifiCorp | 2025-08-09 | 18:50 | 41.5225 | -120.1719 | VEGETATION | Rural | <3 linear meters-2 acres | Self-Extinguished | N/A | 06142016.0084400 | N/A | 12.47 | Wire-to-wire contact | DISTRIBUTION | Yes | 2025-08-09 | 17:58 | WIRE-TO-WIRE CONTACT | WIRE-TO-WIRE CONTACT |  |  | FAILED SECONDARY CONDITION
PacifiCorp | 2025-08-11 | 17:50 | 41.419 | -122.3823 | VEGETATION | Urban | <1 linear meter | Self-Extinguished | N/A | 06241005.0119803 | N/A | 12.47 | Conductor | DISTRIBUTION | Yes | 2025-08-12 | 7:37 | EQUIPMENT/FACILITY FAILURE OR DAMAGE | CONDUCTOR
PacifiCorp | 2025-09-11 | 16:30 | 41.9014 | -122.5449 | VEGETATION | Rural | <3 linear meters-2 acres | Fire agency | N/A | 6247006.02859 | N/A | 12.0 | Conductor | DISTRIBUTION | No | N/A | N/A | WIRE-TO-WIRE CONTACT | CONDUCTOR |  |  | UNKNOWN
PacifiCorp | 2025-10-08 | 17:10 | 41.5687 | -122.8348 | VEGETATION | Rural | <3 linear meters-2 acres | Patrol | N/A | 06243009.0131003 | N/A | 12.47 | Conductor | DISTRIBUTION | Yes | 2025-10-08 | 14:04 | WIRE-TO-WIRE CONTACT | CONDUCTOR |  |  | WEATHER
PacifiCorp | 2025-10-13 | 19:22 | 41.4756 | -122.8748 |  | Rural | Structure Only | Self-Extinguished | N/A | 06242009.0221502 | N/A | 12.50 | Pole | DISTRIBUTION | Yes | 2025-10-13 | 19:22 | POLE FIRE | POLE
PacifiCorp | 2025-11-06 | 14:26 | 41.664 | -122.6122 |  | Rural | Structure Only | Self-Extinguished | N/A | 06244007.0149600 | N/A | 12.50 | Pole | DISTRIBUTION | Yes | 2025-11-06 | 14:26 | POLE FIRE | POLE